## Slide 1
Start Jana2020 with the structure “Zn” attached in the directory
Change the focus to JanaDraw

## Slide 2
.
With the right mouse button, drag and move the green rectangle to select a group of atoms. Black rectangles highlight the selected atoms. The following video demonstrates the program’s correct behaviour.

## Slide 3
Refresh the selection by clicking the left button and redo the selection. Then press Ctrl+I to invert the selection. Repeat it several times. The following video demonstrates the program’s correct behaviour.

## Slide 4
Refresh the previous selection by clicking the left button. Press the button at the bottom toolbar to visualize the atomic labels. Then rotate the figure with the pressed left mouse button around the general direction. The labels should disappear, and after releasing the left mouse button, they should reappear.

## Slide 5
In some cases, the program’s behaviour is different. Some users cannot see the selection rectangles or atom labels.
Such problems are usually caused by the graphics card’s settings.
In the next two slides, we show what helped with AMD computers and with Nvidia graphics.
We would be grateful for any feedback or advice on how to further improve this document.

## Slide 6
Possible solution for AMD processor – we demonstrate how to resolve the issue with atom selection.

## Slide 7
Possible solution for the graphics cards driven by the NVIDIA driver